## Slide 1: Good Clinical Practice (Medical Devices) - Summary of Lecture Slides
Abigail Ekeigwe

## Slide 2: Quality by Design
Clinical study review
Clinical study design and strategy
Clinical study execution
Clinical study close out
Clinical Study Life Cycle
AAPS news of February 2, 2019
Inadequate study design is among the most critical

## Slide 3: Clinical Study Design Elements
  • Product description and indications
  • Regulatory strategy, countries in which to conduct study
  • Objectives • Endpoints • Sample size • # of sites
  • Patient population • Follow‐up schedule • Key definitions • Independent committees (CEC, DSMB, Core lab) •Publication/ presentation strategy
Critical issues to consider when designing a clinical study

## Slide 4: Quality by design –critical aspects of QbD for clinical studies
Clinical study lifecycle
Site selection
IRB approval
Training
Device logistics
Screening patients
Consenting patients
Study procedures
Follow‐up
Data collection and review
Imaging
Documentation
Monitoring
Adverse events
Progress reports

## Slide 5: Ensuring Quality in Clinical Studies
• Critical Quality Attributes
  Characteristics that must be controlled to ensure the quality of the clinical study is adequate
  Data Integrity
  Patient Safety

## Slide 6: Ensuring Quality in Clinical Studies
• Critical Process Parameters
  o Regulations/Standards o Processes/Procedures o Designing/Managing Clinical Study

## Slide 7: Medical Devices vs. Drugs Clinical Studies
Principles of GCP applies to both drugs and medical devices
For medical devices, requirement for clinical studies depends on the classification of the medical device
For drugs, all novel molecules must go through clinical trials

## Slide 8: Medical Devices vs. Drugs Clinical Studies
Drugs | Medical devices
Randomization is common (RCT) | Randomization is not common
Large population includes placebos | Small population rarely uses placebo
Ability to blind | Difficult to blind
Training of study personnel is only on the protocol requirements, mechanism of action of drug and possible side effects | Training will also include hands-on device training in addition to protocol training
All AEs are captured and analyzed as potentially related to the drug | Not AEs are reportable due to the local effects of the device.
Notes: Discussion question
Why would it be difficult to blind?

## Slide 9: Inspection of Clinical Study Sites for Medical Devices
BIMO program of the US FDA
BIMO = Bioresearch Monitoring
Established to assure the quality and integrity of data submitted to the FDA
Notes: Discussion Question
What inspection programs are available in the regions and countries

## Slide 10: Main goal of BIMO
  Protect the rights, safety and welfare of subjects.
  Determine the accuracy and reliability of clinical trial data submitted to FDA in support of research or marketing applications for new products
  Assess compliance with FDA’s regulations governing the conduct of clinical trials, including those for informed consent, ethical review and control of research articles.

## Slide 11: Inspection of Clinical Study Sites for Medical Devices
BIMO
Review of Records

## Slide 12: Further Reading
ISO 14155
ICH Guidelines for Good Clinical Practice
  ICH E6R1 and E6R2
WHO Guidelines for good clinical practice (GCP) for trials on pharmaceutical products* (WHO Technical Report Series, No. 850, 1995, Annex 3)